## Table_B_1
Table B.1 Major Disturbances and Unusual Occurrences, Year-to-Date 2012
Year | Month | Event Date and Time | Restoration Date and Time | Duration | Utility/Power Pool | NERC Region | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected
2012 | 1 | 01/09/2012 1:36 PM | 01/11/2012 1:05 AM | 35 Hours, 29 Minutes | The Dow Chemical Company | SERC | Louisiana | Load Shed | 150 | 1
2012 | 1 | 01/10/2012 9:30 PM | 01/10/2012 9:30 PM | 0 Hours, 0 Minutes | Luminant Energy Company LLC | TRE | Rusk County, Texas | Load Shed | N/A | N/A
2012 | 1 | 01/19/2012 7:00 AM | 01/20/2012 3:00 PM | 32 Hours, 0 Minutes | Puget Sound Energy | WECC | King, Pierce and Thurston Counties, Washington | Severe Weather - Winter Storm | 1600 | 426000
2012 | 2 | 02/19/2012 5:00 PM | 02/21/2012 7:33 AM | 38 Hours, 33 Minutes | American Electric Power | SERC | Kentucky, Virginia, West Virginia | Severe Weather - Winter Storm | UNK | 90000
2012 | 2 | 02/28/2012 2:59 AM | 02/28/2012 6:12 AM | 3 Hours, 13 Minutes | Pacific Gas and Electric | WECC | Sacramento, California | Electrical System Separation (Islanding) | 1 | 1
2012 | 3 | 03/02/2012 12:37 PM | 03/05/2012 12:01 PM | 71 Hours, 24 Minutes | Tennessee Valley Authority (TVA) | SERC | Northern Alabama; Southeast Tennessee | Severe Weather - Tornadoes | 500 | UNK
2012 | 3 | 03/02/2012 1:45 PM | 03/02/2012 3:30 PM | 1 Hours, 45 Minutes | City of Piggott, Arkansas | SERC | Piggott, Arkansas | Operational Failure/Equipment Malfunction | N/A | N/A
2012 | 3 | 03/02/2012 9:00 PM | 03/04/2012 5:30 PM | 44 Hours, 30 Minutes | Consumers Energy | RFC | Lower Peninsula, Michigan | Severe Weather - Winter Storm | 50 | 140000
2012 | 3 | 03/02/2012 9:00 PM | 03/05/2012 4:30 PM | 67 Hours, 30 Minutes | Detroit Edison, Subsidiary of DTE Energy | RFC | Southeastern, Michigan | Severe Weather - Winter Storm | 371 | 130000
2012 | 3 | 03/20/2012 8:00 AM | 03/20/2012 1:00 PM | 5 Hours, 0 Minutes | CenterPoint Energy | TRE | Houston, Texas | Severe Weather - Thunderstorms | N/A | 96000
2012 | 3 | 03/29/2012 12:01 PM | 03/29/2012 12:02 PM | 0 Hours, 1 Minutes | Lansing Board of Water & Light | RFC | Lansing, Michigan | Electrical System Separation (Islanding) | UNK | 0
2012 | 4 | 04/16/2012 3:46 PM | 04/19/2012 2:00 AM | 58 Hours, 14 Minutes | Detroit Edison, Subsidiary of DTE Energy | RFC | Southeast, Michigan | Severe Weather - High Winds | 218 | 111393
2012 | 4 | 04/20/2012 2:27 PM | 04/21/2012 4:27 AM | 14 Hours, 0 Minutes | CenterPoint Energy | TRE | Metropolitan Houston, Texas | Severe Weather - Thunderstorms | N/A | 120377
2012 | 5 | 05/07/2012 5:45 PM | 05/07/2012 6:06 PM | 0 Hours, 21 Minutes | American Electric Power (AEP) | RFC | Eastern Ohio | Load Shed/Severe Weather - Lightning Storm | 420 | 1
2012 | 5 | 05/29/2012 8:35 PM | 05/31/2012 10:00 AM | 37 Hours, 25 Minutes | Oklahoma Gas & Electric | SPP | Oklahoma City Metro Area, Oklahoma | Severe Weather - Thunderstorms | UNK | 112000
2012 | 6 | 06/08/2012 5:20 PM | 06/08/2012 5:25 PM | 0 Hours, 5 Minutes | Public Service Company of Colorado | WECC | Denver Metro Area, Colorado | Load Shed | 120 | 30379
2012 | 6 | 06/11/2012 7:50 PM | 06/12/2012 3:00 PM | 19 Hours, 10 Minutes | Southern Company | SERC | North/Central Alabama; North/Central Georgia | Severe Weather - Thunderstorms | 368 | 110591
2012 | 6 | 06/12/2012 3:57 PM | 06/14/2012 4:57 AM | 37 Hours, 0 Minutes | CenterPoint Energy | TRE | Houston, Texas | Severe Weather - Thunderstorms | 920 | 175000
2012 | 6 | 06/19/2012 4:30 AM | 06/20/2012 11:00 PM | 42 Hours, 30 Minutes | Xcel Energy | MRO | Minneapolis/St. Paul, Minnesota | Severe Weather - Thunderstorms | UNK | 68200
2012 | 6 | 06/19/2012 5:30 AM | 06/21/2012 5:30 AM | 48 Hours, 0 Minutes | California Department of Water Resources | WECC | CAISO Territory California | Fuel Supply Deficiency (Water) | UNK | UNK
2012 | 6 | 06/23/2012 6:57 PM | 06/23/2012 7:28 PM | 0 Hours, 31 Minutes | ISO New England | NPCC | North Shore, Massachusetts | Load Shed | 51 | 29250
2012 | 6 | 06/25/2012 4:04 PM | 06/26/2012 1:45 PM | 21 Hours, 41 Minutes | Dominion | SERC | Central Virginia | Severe Weather - Wind & Rain | 600 | 190000
2012 | 6 | 06/29/2012 12:10 PM | 06/29/2012 5:02 PM | 4 Hours, 52 Minutes | Puerto Rico Electric Power Authority (PREPA) | N/A | Puerto Rico | Equipment Trip & Failure | 1800 | 900000
2012 | 6 | 06/29/2012 2:10 PM | 07/04/2012 6:00 PM | 123 Hours, 50 Minutes | Dayton Power & Light | RFC | Dayton, Ohio | Severe Weather - Thunderstorms | 500 | 175000
2012 | 6 | 06/29/2012 4:00 PM | 06/29/2012 9:00 PM | 5 Hours, 0 Minutes | Entergy | SERC | Eastern, Arkansas | Public Appeal to Reduce Electricity Usage | 45 | 7935
2012 | 6 | 06/29/2012 4:00 PM | 07/02/2012 4:00 PM | 72 Hours, 0 Minutes | American Electric Power (AEP) | RFC | Indiana; Michigan; Ohio; West Virginia | Severe Weather - Thunderstorms | UNK | 1355919
2012 | 6 | 06/29/2012 5:15 PM | 07/02/2012 11:59 PM | 78 Hours, 44 Minutes | Duke Energy Midwest | RFC | Eastern Indiana; Northern Kentucky; Greater Cincinnati area Ohio | Severe Weather - Thunderstorms | 2946 | 4645572
2012 | 6 | 06/29/2012 6:24 PM | 07/06/2012 10:00 AM | 159 Hours, 36 Minutes | FirstEnergy (Mon Power) | RFC | West Virginia | Severe Weather - Thunderstorms | 700 | 265000
2012 | 6 | 06/29/2012 7:00 PM | 07/07/2012 7:43 PM | 192 Hours, 43 Minutes | FirstEnergy (Potomac Edison) | RFC | Maryland; West Virginia | Severe Weather - Thunderstorms | UNK | 145000
2012 | 6 | 06/29/2012 10:15 PM | 07/02/2012 1:10 PM | 62 Hours, 55 Minutes | Pepco | RFC | Montgomery and Prince Georges Counties, Maryland; District of Columbia | Severe Weather - Thunderstorms | 3000 | 425000
2012 | 6 | 06/29/2012 10:29 PM | 07/04/2012 3:36 PM | 113 Hours, 7 Minutes | Dominion | SERC | Virginia | Severe Weather - Thunderstorms | 5000 | 880000
2012 | 6 | 06/29/2012 10:43 PM | 07/02/2012 10:01 PM | 71 Hours, 18 Minutes | Baltimore Gas & Electric Company (BGE) | RFC | Greater Baltimore area, Maryland | Severe Weather - Thunderstorms | 1465 | 600000
2012 | 6 | 06/29/2012 11:30 PM | 06/30/2012 2:00 AM | 2 Hours, 30 Minutes | Exelon Corporation/ComEd | RFC | Northeast Illinois | Severe Weather - Thunderstorms | UNK | 109000
2012 | 6 | 06/30/2012 1:00 AM | 07/03/2012 1:00 AM | 72 Hours, 0 Minutes | Delmarva Power & Light Company | RFC | Delaware; Maryland | Severe Weather - Thunderstorms | 0 | 86390
2012 | 6 | 06/30/2012 1:15 AM | 07/07/2012 5:33 PM | 184 Hours, 18 Minutes | Atlantic City Electric | RFC | Atlantic City Electric Service Territory New Jersey | Severe Weather - Thunderstorms | UNK | 205000
2012 | 6 | 06/30/2012 3:00 PM | 07/02/2012 12:00 PM | 45 Hours, 0 Minutes | Tennessee Valley Authority (TVA) | SERC | Northeast Tennessee | Public Appeal to Reduce Electricity Usage | UNK | UNK
2012 | 6 | 06/30/2012 10:30 PM | 07/02/2012 8:11 AM | 33 Hours, 41 Minutes | Southern Maryland Electric Cooperative, Inc. | RFC | Calvert, Charles, St. Mary's, Prince Georges Counties Maryland | Severe Weather - Thunderstorms | 354 | 60000
2012 | 7 | 07/01/2012 1:00 PM | 07/03/2012 3:00 PM | 50 Hours, 0 Minutes | Exelon Corporation/ComEd | RFC | Illinois | Severe Weather - Thunderstorms | 320000 | Unknown
2012 | 7 | 07/01/2012 4:47 PM | 07/01/2012 11:00 PM | 6 Hours, 13 Minutes | North Carolina Municipal Power Agency #1 | SERC | Tarboro, North Carolina | Operational Failure; Storm Damage | 6100 | 48
2012 | 7 | 07/01/2012 5:45 PM | 07/01/2012 10:15 PM | 4 Hours, 30 Minutes | Progress Energy, Carolinas | SERC | Northern, Central and Eastern North Carolina | Severe Weather | 69106 | Unknown
2012 | 7 | 07/05/2012 12:00 AM | 07/06/2012 8:30 PM | 44 Hours, 30 Minutes | Consumers Energy | RFC | Lower Peninsula Michigan | Severe Weather - Thunderstorms | 111000 | Unknown
2012 | 7 | 07/05/2012 7:00 PM | 07/06/2012 4:00 PM | 21 Hours, 0 Minutes | Tennessee Valley Authority (TVA) | SERC | Northeast Tennessee | Severe Weather - Wind & Storms | 50001 | N/A
2012 | 7 | 07/07/2012 4:00 AM | 07/10/2012 4:00 AM | 72 Hours, 0 Minutes | California Department of Water Resources | WECC | CAISO California | Fuel Supply Deficiency (Water) | 0 | Unknown
2012 | 7 | 07/07/2012 6:06 AM | 07/09/2012 11:00 PM | 64 Hours, 54 Minutes | PPL Electric Utilities Corp | RFC | Lower Valley, Central, Susquehanna Regions Pennsylvania | Severe Weather - Thunderstorms | 64500 | N/A
2012 | 7 | 07/07/2012 6:00 PM | 07/09/2012 7:01 PM | 49 Hours, 1 Minutes | FirstEnergy Corp. Jersey Central Power & Light | RFC | Central and Northern New Jersey | Severe Weather - Thunderstorms | 95400 | N/A
2012 | 7 | 07/09/2012 12:15 PM | 07/09/2012 4:14 PM | 3 Hours, 59 Minutes | WECC RC Vancouver | WECC | Alberta, Canada | Energy Deficiency Alert | Unknown | 9896
2012 | 7 | 07/16/2012 11:27 AM | 07/16/2012 12:29 PM | 1 Hours, 2 Minutes | North Little Rock Electric Department | SPP | Little Rock, Arkansas | Public Appeal to Reduce Energy Usage | N/A | N/A
2012 | 7 | 07/18/2012 2:16 PM | 07/19/2012 11:58 PM | 33 Hours, 42 Minutes | Duke Energy Midwest | RFC | Southeast Ohio, Northern Kentucky, Southern Indiana | Severe Weather - Thunderstorms | 103000 | 480
2012 | 7 | 07/18/2012 4:20 PM | 07/18/2012 7:05 PM | 2 Hours, 45 Minutes | American Electric Power (AEP) | RFC | Eastern Ohio | Severe Weather - Thunderstorms | 67000 | Unknown
2012 | 7 | 07/18/2012 11:00 PM | 07/19/2012 6:00 AM | 7 Hours, 0 Minutes | Exelon Corporation/ComEd | RFC | Northern Illinois | Severe Weather - Thunderstorms | 181000 | Unknown
2012 | 7 | 07/19/2012 10:30 AM | 07/31/2012 11:00 AM | 288 Hours, 30 Minutes | Somerset Operating Company | NPCC | Niagara County, New York | Fuel Supply Deficiency (Coal) | Unknown | 675
2012 | 7 | 07/21/2012 2:19 AM | 07/21/2012 5:20 AM | 3 Hours, 1 Minutes | Lubbock Power and Light | SPP | City of Lubbock, Texas | Severe Weather; Equipment Failure | 70000 | 220
2012 | 7 | 07/24/2012 7:01 AM | 07/24/2012 4:30 PM | 9 Hours, 29 Minutes | Northern Indiana Public Service Company | RFC | Northern Indiana | Severe Weather - Thunderstorms | 82621 | N/A
2012 | 7 | 07/24/2012 7:30 AM | 07/24/2012 10:00 PM | 14 Hours, 30 Minutes | Exelon Corporation/ComEd | RFC | Northern Illinois | Severe Weather - Thunderstorms | 330000 | Unknown
2012 | 7 | 07/26/2012 6:14 PM | 07/27/2012 6:14 PM | 24 Hours, 0 Minutes | FirstEnergy Corp.: Pennsylvania Electric Company | RFC | Western Pennsylvania | Severe Weather - Thunderstorms | 65112 | N/A
2012 | 7 | 07/26/2012 6:21 PM | 07/28/2012 11:30 PM | 53 Hours, 9 Minutes | PPL Electric Utilities Corp | RFC | North/Central Pennsylvania | Severe Weather - Thunderstorms | 65000 | N/A
2012 | 7 | 07/26/2012 6:30 PM | 07/27/2012 5:22 PM | 22 Hours, 52 Minutes | American Electric Power (AEP) | RFC | Eastern Ohio | Severe Weather - Thunderstorms | 57054 | Unknown
2012 | 7 | 07/27/2012 5:19 PM | 07/28/2012 5:19 PM | 24 Hours, 0 Minutes | Duke Energy Midwest | RFC | Central Indiana | Severe Weather - Thunderstorms | 52702 | Unknown
2012 | 8 | 08/01/2012 12:00 PM | 08/01/2012 12:00 PM | 0 Hours, 0 Minutes | Oklahoma Gas & Electric Co | SPP | Oklahoma, Arkansas | Public Appeal to Reduce Electricity Usage | Unknown | Unknown
2012 | 8 | 08/04/2012 3:55 AM | 08/04/2012 4:21 AM | 0 Hours, 26 Minutes | Pacific Gas & Electric Co | WECC | Temblor Substation in McKittrick, California | Electrical System Separation (Islanding) | 5 | 127
2012 | 8 | 08/04/2012 4:00 AM | 08/04/2012 7:20 AM | 3 Hours, 20 Minutes | Northern Indiana Public Service Company | RFC | Northern Indiana | Severe Weather - Thunderstorms | N/A | 61413
2012 | 8 | 08/04/2012 5:30 PM | 08/05/2012 12:10 PM | 18 Hours, 40 Minutes | Exelon Corporation/ComEd | RFC | Northeast Illinois | Severe Weather - Thunderstorms | Unknown | 325000
2012 | 8 | 08/13/2012 3:52 PM | 08/13/2012 7:44 PM | 3 Hours, 52 Minutes | WECC Reliability Coordinator | WECC | CFE (Mexico & U.S.) | Severe Weather - Dust Storm; Load Shed Event | 655 | Unknown
2012 | 8 | 08/26/2012 10:04 PM | 08/27/2012 2:04 AM | 4 Hours, 0 Minutes | Florida Power & Light | FRCC | Florida | Severe Weather - TS Isaac | N/A | 440000
2012 | 8 | 08/28/2012 6:00 AM | 09/04/2012 8:00 AM | 170 Hours, 0 Minutes | Entergy | SERC | Arkansas, Louisiana, Mississippi | Severe Weather - Hurricane Isaac | Unknown | 770000
2012 | 8 | 08/29/2012 6:53 AM | 08/30/2012 2:00 PM | 31 Hours, 7 Minutes | Dixie Electric Membership Corp | SERC | Louisiana | Severe Weather - Hurricane Isaac | 150 | 68018
2012 | 8 | 08/29/2012 9:00 AM | 08/31/2012 12:00 PM | 51 Hours, 0 Minutes | Louisiana Generating LLC | SERC | Louisiana | Severe Weather - Hurricane Isaac | 300 | 50000
2012 | 8 | 08/29/2012 9:48 AM | 08/31/2012 12:55 PM | 51 Hours, 7 Minutes | Cleco Power LLC | SPP | Louisiana | Severe Weather - Hurricane Isaac | Unknown | 95000
2012 | 9 | 09/08/2012 3:40 PM | 09/08/2012 6:45 PM | 3 Hours, 5 Minutes | PEPCO (Potomac Electric Power Company) | RFC | Prince George's County, Montgomery County Maryland; D.C. | Severe Weather - Thunderstorms | UNK | 65000
2012 | 9 | 09/08/2012 3:53 PM | 09/09/2012 7:46 PM | 27 Hours, 53 Minutes | Dominion Virginia Power | SERC | Virginia | Severe Weather - Thunderstorms | 475 | 119000
2012 | 9 | 09/11/2012 1:00 PM | 09/11/2012 1:58 PM | 0 Hours, 58 Minutes | WECC - Loveland | WECC | Alberta, Canada | Electrical System Separation (Islanding) | 0 | 0
2012 | 9 | 09/26/2012 9:16 PM | 09/26/2012 10:18 PM | 1 Hours, 2 Minutes | Puerto Rico Electric Power Authority (PREPA) | N/A | Puerto Rico | Voltage Reduction | 600 | 371526
2012 | 10 | 10/14/2012 10:36 AM | 10/14/2012 10:50 AM | 0 Hours, 14 Minutes | Pacific Gas & Electric Co | WECC | Northern California | Electrical System Separation (Islanding) | 3 | 2035
2012 | 10 | 10/23/2012 9:10 AM | 10/23/2012 9:16 AM | 0 Hours, 6 Minutes | Crawfordsville Electric, Light & Power | RFC | Crawfordsville, Indiana | Transmission System Interruption | 49 | 9800
2012 | 10 | 10/29/2012 12:00 AM | 11/09/2012 11:59 PM | 287 Hours, 59 Minutes | FirstEnergy Corp: Mon Power Company | RFC | West Virginia | Severe Weather - Hurricane Sandy | 0 | 208000
2012 | 10 | 10/29/2012 8:00 AM | 11/04/2012 11:00 PM | 159 Hours, 0 Minutes | Atlantic City Electric Co | RFC | New Jersey | Severe Weather - Hurricane Sandy | Unknown | Unknown
2012 | 10 | 10/29/2012 9:00 AM | 11/02/2012 6:00 PM | 105 Hours, 0 Minutes | Delmarva Power & Light Company | RFC | Delaware, Maryland | Severe Weather - Hurricane Sandy | Unknown | 70000
2012 | 10 | 10/29/2012 12:00 PM | 11/04/2012 11:00 PM | 155 Hours, 0 Minutes | FirstEnergy Corp: Jersey Central Power & Light | RFC | New Jersey | Severe Weather - Hurricane Sandy | Unknown | 217000
2012 | 10 | 10/29/2012 1:00 PM | 11/12/2012 2:00 PM | 337 Hours, 0 Minutes | Long Island Power Authority (LIPA) | NPCC | Long Island, New York | Severe Weather - Hurricane Sandy | 0 | 632816
2012 | 10 | 10/29/2012 2:40 PM | 10/30/2012 6:16 PM | 27 Hours, 36 Minutes | ISO New England obo NSTAR | NPCC | Boston, Southeast Massachusetts | Severe Weather - Hurricane Sandy | Unknown | 50000
2012 | 10 | 10/29/2012 2:45 PM | 11/01/2012 1:30 AM | 58 Hours, 45 Minutes | ISO New England/REMVEC | NPCC | Eastern Massachusetts | Severe Weather - Hurricane Sandy | Unknown | 50000
2012 | 10 | 10/29/2012 3:15 PM | 11/04/2012 8:00 PM | 148 Hours, 45 Minutes | ISO New England/CONVEX | NPCC | Connecticut, Western Massachusetts | Severe Weather - Hurricane Sandy | 0 | 649075
2012 | 10 | 10/29/2012 4:00 PM | 11/05/2012 11:59 PM | 175 Hours, 59 Minutes | FirstEnergy Corp: CEI | RFC | Greater Cleveland Ohio | Severe Weather - Hurricane Sandy | 0 | 346000
2012 | 10 | 10/29/2012 4:00 PM | 11/07/2012 11:48 PM | 223 Hours, 48 Minutes | FirstEnergy Corp: Met-Ed | RFC | Eastern Pennsylvania | Severe Weather - Hurricane Sandy | 0 | 270000
2012 | 10 | 10/29/2012 4:00 PM | 11/08/2012 5:08 PM | 241 Hours, 8 Minutes | FirstEnergy Corp: Potomac Edison | RFC | Maryland; West Virginia | Severe Weather - Hurricane Sandy | Unknown | 150000
2012 | 10 | 10/29/2012 4:01 PM | 11/08/2012 7:00 PM | 242 Hours, 59 Minutes | Consolidated Edison Co-NY Inc | NPCC | Greater New York City, New York | Severe Weather - Hurricane Sandy | 0 | 818000
2012 | 10 | 10/29/2012 4:03 PM | 11/06/2012 12:00 PM | 187 Hours, 57 Minutes | PSE&G | NPCC | New Jersey | Severe Weather - Hurricane Sandy | Unknown | 50000
2012 | 10 | 10/29/2012 4:45 PM | 10/31/2012 11:00 AM | 42 Hours, 15 Minutes | ISO New England/PSNH | NPCC | New Hampshire | Severe Weather - Hurricane Sandy | N/A | 50000
2012 | 10 | 10/29/2012 5:13 PM | 10/31/2012 11:00 AM | 41 Hours, 47 Minutes | Baltimore Gas & Electric Company | RFC | Greater Baltimore Maryland | Severe Weather - Hurricane Sandy | 0 | 219000
2012 | 10 | 10/29/2012 5:30 PM | 11/06/2012 12:00 AM | 174 Hours, 30 Minutes | Exelon Corporation/PECO | RFC | Greater Philadelphia Pennsylvania | Severe Weather - Hurricane Sandy | Unknown | 850000
2012 | 10 | 10/29/2012 6:11 PM | 11/04/2012 10:50 PM | 148 Hours, 39 Minutes | PPL Electric Utilities Corp | RFC | Central Pennsylvania | Severe Weather - Hurricane Sandy | Unknown | 400000
2012 | 10 | 10/29/2012 6:12 PM | 10/30/2012 7:35 PM | 25 Hours, 23 Minutes | Dominion Virginia Power | RFC | Virginia | Severe Weather - Hurricane Sandy | 520 | 156000
2012 | 10 | 10/29/2012 6:46 PM | 11/03/2012 10:45 AM | 111 Hours, 59 Minutes | Orange and Rockland Utilities, Inc. | NPCC; RFC | Southeast New York; New Jersey | Severe Weather - Hurricane Sandy | Unknown | 200000
2012 | 10 | 10/29/2012 6:48 PM | 11/04/2012 11:36 AM | 136 Hours, 48 Minutes | Iberdrola USA (NYSEG) | NP | New York | Severe Weather - Hurricane Sandy | Unknown | 371000
2012 | 10 | 10/29/2012 7:00 PM | 11/02/2012 5:00 AM | 82 Hours, 0 Minutes | American Electric Power | RFC; SERC | Indiana; Kentucky; Michigan; Ohio | Severe Weather - Nor'easter | Unknown | 173273
2012 | 10 | 10/29/2012 7:15 PM | 10/30/2012 3:02 PM | 19 Hours, 47 Minutes | ISO New England | NPCC | Southeast and Seacoast Maine | Severe Weather - Hurricane Sandy | Unknown | 50000
2012 | 10 | 10/30/2012 2:00 AM | 11/01/2012 10:00 PM | 68 Hours, 0 Minutes | Detroit Edison Co | RFC | Greater Detroit Michigan | Severe Weather - Nor'easter | Unknown | 133777
2012 | 11 | 11/17/2012 10:00 AM | 11/18/2012 10:00 AM | 24 Hours, 0 Minutes | ERCOT | TRE | Comanche Peak, Texas | Fuel Supply Deficiency | 1231 | 0
2012 | 12 | 12/02/2012 5:20 AM | 12/04/2012 9:00 AM | 51 Hours, 40 Minutes | Pacific Gas & Electric Co | WECC | Northern California | Severe Weather - Winter Storm | 250 | 125000
2012 | 12 | 12/06/2012 9:18 PM | 12/06/2012 9:31 PM | 0 Hours, 13 Minutes | California Department of Water Resources | WECC | Greater San Jose, California | Load Shed | 390 | Unknown
2012 | 12 | 12/25/2012 12:45 AM | 12/28/2012 4:15 PM | 87 Hours, 30 Minutes | Entergy | SPP | Arkansas; Louisiana; Mississippi; Texas | Severe Weather - Winter Storm | Unknown | 242509
2012 | 12 | 12/25/2012 9:28 AM | 12/26/2012 4:28 PM | 31 Hours, 0 Minutes | CenterPoint Energy | TRE | Houston, Texas | Severe Weather - Cold Front, High Winds | 294 | 262000
2012 | 12 | 12/26/2012 2:50 PM | 12/26/2012 7:40 PM | 4 Hours, 50 Minutes | Town of Stantonsburg - (NC) | SERC | Stantonsburg, North Carolina | Severe Weather - Thunderstorm | 3 | 1200
2012 | 12 | 12/31/2012 2:21 PM | 12/31/2012 4:30 PM | 2 Hours, 9 Minutes | City of Washington - (NC) | SERC | North Carolina | Transmission Interruption | 40 | 12000
Note: Customers affected are estimates and are preliminary. Source: Form OE-417, 'Electric Emergency Incident and Disturbance Report.'