## Table_B_1
Table B.1 Major Disturbances and Unusual Occurrences, Year-to-Date 2014
Year | Month | Event Date and Time | Restoration Date and Time | Duration | Utility/Power Pool | NERC Region | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected
2014 | 1 | 01/06/2014 7:01 AM | 01/07/2014 9:00 AM | 25 Hours, 59 Minutes | ERCOT | TRE | Texas | Public Appeal due to Severe Weather - Cold | N/A | N/A
2014 | 1 | 01/06/2014 7:50 PM | 01/06/2014 8:44 PM | 0 Hours, 54 Minutes | PPL Electric Utilities Corp | RFC | Pennsylvania | Voltage Reduction due to Severe Weather - Cold | Unknown | Unknown
2014 | 1 | 01/06/2014 7:50 PM | 01/06/2014 8:44 PM | 0 Hours, 54 Minutes | PJM Interconnection | RFC | Unknown | Voltage Reduction due to Severe Weather - Cold | Unknown | Unknown
2014 | 1 | 01/06/2014 7:50 PM | 01/06/2014 8:44 PM | 0 Hours, 54 Minutes | Potomac Electric Power Co | RFC | District of Columbia | Voltage Reduction due to Severe Weather - Cold | Unknown | Unknown
2014 | 1 | 01/06/2014 7:50 PM | 01/06/2014 8:49 PM | 0 Hours, 59 Minutes | UGI Utilities, Inc | RFC | Pennsylvania | Voltage Reduction due to Severe Weather - Cold | 200 | 62000
2014 | 1 | 01/06/2014 7:52 PM | 01/06/2014 8:45 PM | 0 Hours, 53 Minutes | Delmarva Power & Light Company | RFC | Delaware | Voltage Reduction due to Severe Weather - Cold | Unknown | Unknown
2014 | 1 | 01/06/2014 8:45 PM | 01/07/2014 9:00 PM | 24 Hours, 15 Minutes | PJM Interconnection | RFC | Unknown | Public Appeal due to Severe Weather - Cold | Unknown | Unknown
2014 | 1 | 01/06/2014 10:00 PM | 01/06/2014 10:01 PM | 0 Hours, 1 Minutes | Louisville Gas & Electric Co | RFC | Kentucky | Public Appeal due to Severe Weather - Cold | Unknown | Unknown
2014 | 1 | 01/07/2014 6:00 AM | 01/07/2014 8:30 AM | 2 Hours, 30 Minutes | Memphis Light Gas and Water Division | SERC | Tennessee | Public Appeal due to Severe Weather - Cold | Unknown | Unknown
2014 | 1 | 01/07/2014 6:00 AM | 01/07/2014 8:30 AM | 2 Hours, 30 Minutes | Tennessee Valley Authority | SERC | Northeast Tennessee | Public Appeal due to Severe Weather - Cold | Unknown | Unknown
2014 | 1 | 01/07/2014 7:58 AM | 01/07/2014 11:00 AM | 3 Hours, 2 Minutes | Duke Energy Progress | SERC | North Carolina | Voltage Reduction; Public Appeal due to Severe Weather - Cold | 14435 | Unknown
2014 | 1 | 01/07/2014 9:30 AM | 01/08/2014 9:30 AM | 24 Hours, 0 Minutes | Duke Energy Carolinas | SERC | Piedmont North Carolina, Piedmont South Carolina | Fuel Supply Emergency due to Severe Weather - Cold | Unknown | Unknown
2014 | 1 | 01/07/2014 10:59 AM | 01/09/2014 9:00 AM | 46 Hours, 1 Minutes | Prairie Power, Inc. | RFC | Illinois | Fuel Supply Emergency - Natural Gas | N/A | N/A
2014 | 1 | 01/07/2014 4:15 PM | 01/08/2014 1:20 PM | 21 Hours, 5 Minutes | Duke Energy Progress | SERC | North Carolina | Public Appeal due to Severe Weather - Cold | Unknown | Unknown
2014 | 1 | 01/07/2014 6:00 PM | 01/07/2014 11:00 PM | 5 Hours, 0 Minutes | South Carolina Electric and Gas | SERC | South Carolina | Voltage Reduction; Public Appeal; Load Shed 100+MW due to Severe Weather - Cold | 4853 | 677858
2014 | 1 | 01/07/2014 9:00 PM | 01/08/2014 9:00 AM | 12 Hours, 0 Minutes | PJM Interconnection | RFC | Unknown | Public Appeal due to Severe Weather - Cold | Unknown | Unknown
2014 | 1 | 01/08/2014 5:00 AM | 01/08/2014 6:30 AM | 1 Hours, 30 Minutes | American Electric Power | RFC | Unknown | Voltage Reduction due to Severe Weather - Cold | 576 | Unknown
2014 | 1 | 01/08/2014 6:00 AM | 01/08/2014 9:00 AM | 3 Hours, 0 Minutes | South Carolina Electric and Gas | SERC | South Carolina | Voltage Reduction; Public Appeal; Load Shed 100+MW due to Severe Weather - Cold | 4545 | 677858
2014 | 1 | 01/17/2014 10:30 AM | 01/28/2014 9:00 AM | 262 Hours, 30 Minutes | Prairie Power, Inc. | RFC | Illinois | Fuel Supply Emergency - Natural Gas | Unknown | Unknown
2014 | 1 | 01/18/2014 9:00 AM | 01/18/2014 9:45 AM | 0 Hours, 45 Minutes | ERCOT | TRE | Texas | Public Appeal to Reduce Electricity Usage | Unknown | Unknown
2014 | 1 | 01/18/2014 5:39 PM | . . | . Hours, . Minutes | First Energy Solutions Corp. | RFC | Unknown | Electrical System Islanding | Unknown | Unknown
2014 | 1 | 01/23/2014 4:00 AM | 01/24/2014 12:00 PM | 32 Hours, 0 Minutes | Memphis Light Gas and Water Division | SERC | Tennessee | Public Appeal due to Severe Weather - Cold | Unknown | Unknown
2014 | 1 | 01/23/2014 1:04 PM | 01/24/2014 9:00 AM | 19 Hours, 56 Minutes | PJM Interconnection | RFC | Maryland | Public Appeal due to Severe Weather - Cold | Unknown | Unknown
2014 | 1 | 01/23/2014 4:00 PM | 01/24/2014 12:00 PM | 20 Hours, 0 Minutes | Tennessee Valley Authority | SERC | Tennessee | Public Appeal due to Severe Weather - Cold | Unknown | Unknown
2014 | 1 | 01/24/2014 12:00 AM | ongoing | ongoing | We Energies | RFC | Wisconsin | Fuel Supply Emergency - Coal | Unknown
2014 | 1 | 01/27/2014 2:20 PM | 01/28/2014 9:00 PM | 30 Hours, 40 Minutes | PJM Interconnection | RFC | Maryland | Public Appeal due to Severe Weather - Cold | Unknown | Unknown
2014 | 2 | 02/05/2014 12:00 AM | 02/09/2014 6:00 PM | 114 Hours, 0 Minutes | FirstEnergy Corp: Potomac Edison | RFC | Maryland, West Virginia | Severe Weather - Snow/Ice | Unknown | 101580
2014 | 2 | 02/05/2014 1:00 AM | 02/09/2014 8:40 PM | 115 Hours, 40 Minutes | FirstEnergy Corp: Met-Ed | RFC | Pennsylvania | Severe Weather - Snow/Ice | Unknown | 144000
2014 | 2 | 02/05/2014 5:00 AM | 02/05/2014 5:01 AM | 0 Hours, 1 Minutes | Exelon Corporation/PECO | RFC | Pennsylvania | Severe Weather - Snow/Ice | Unknown | 715000
2014 | 2 | 02/05/2014 7:00 AM | 02/23/2014 7:00 AM | 432 Hours, 0 Minutes | Upstate New York Power Producers | NPCC | New York | Fuel Supply Emergency - Coal | 300 | Unknown
2014 | 2 | 02/05/2014 7:35 AM | 02/07/2014 4:03 AM | 44 Hours, 28 Minutes | PPL Electric Utilities Corp | RFC | Lancaster Region, Pennsylvania | Severe Weather - Snow/Ice | Unknown | 62159
2014 | 2 | 02/05/2014 8:05 AM | 02/05/2014 8:06 AM | 0 Hours, 1 Minutes | Baltimore Gas & Electric Company | RFC | Baltimore, Maryland | Severe Weather - Ice | 800 | 181000
2014 | 2 | 02/06/2014 1:00 PM | 02/06/2014 10:00 PM | 9 Hours, 0 Minutes | California ISO | WECC | California | Fuel Supply Emergency - Natural Gas | 4000 | Unknown
2014 | 2 | 02/06/2014 1:05 PM | 02/06/2014 7:15 PM | 6 Hours, 10 Minutes | Pacific Gas & Electric Co | WECC | Northern California | Fuel Supply Emergency - Natural Gas | 160 | Unknown
2014 | 2 | 02/06/2014 1:58 PM | 02/06/2014 8:40 PM | 6 Hours, 42 Minutes | American Electric Power | TRE | Rio Grande Valley Texas | Public Appeal to Reduce Electricity Usage | Unknown | Unknown
2014 | 2 | 02/06/2014 2:15 PM | 02/06/2014 7:39 PM | 5 Hours, 24 Minutes | Southern California Edison | WECC | California | Fuel Supply Emergency - Natural Gas | 611 | Unknown
2014 | 2 | 02/06/2014 3:35 PM | 02/07/2014 11:30 AM | 19 Hours, 55 Minutes | ERCOT | TRE | ERCOT Region Texas | Public Appeal to Reduce Electricity Usage | Unknown | Unknown
2014 | 2 | 02/07/2014 7:00 AM | 03/21/2014 8:00 AM | 1,009 Hours, 0 Minutes | Somerset Operating Company, LLC | NPCC | Niagara County New York | Fuel Supply Emergency - Coal | 675 | Unknown
2014 | 2 | 02/07/2014 4:30 PM | 02/08/2014 9:00 AM | 16 Hours, 30 Minutes | ERCOT | TRE | ERCOT Region Texas | Public Appeal to Reduce Electricity Usage | Unknown | Unknown
2014 | 2 | 02/07/2014 4:50 PM | 02/07/2014 8:30 PM | 3 Hours, 40 Minutes | American Electric Power | TRE | Texas | Public Appeal to Reduce Electricity Usage | Unknown | Unknown
2014 | 2 | 02/12/2014 7:48 AM | 02/15/2014 4:30 AM | 68 Hours, 42 Minutes | Southern Company | SERC | Northern/Northeastern Georgia | Severe Weather - Snow/Ice | 1246 | 373835
2014 | 2 | 02/12/2014 11:03 AM | 02/15/2014 8:40 AM | 69 Hours, 37 Minutes | South Carolina Electric and Gas | SERC | South Carolina | Severe Weather - Snow/Ice | 700 | 120124
2014 | 2 | 02/12/2014 12:10 PM | 02/15/2014 3:20 PM | 75 Hours, 10 Minutes | Duke Energy Progress | SERC | North Carolina | Severe Weather - Snow/Ice | Unknown | 200000
2014 | 2 | 02/20/2014 4:40 PM | 02/21/2014 11:59 PM | 31 Hours, 19 Minutes | Ameren Missouri | SERC | Missouri, Illinois | Severe Weather - Snow/Ice | Unknown | 66000
2014 | 2 | 02/21/2014 2:53 AM | 02/21/2014 9:00 PM | 18 Hours, 7 Minutes | Southern Company | SERC | Northern/Northeastern Georgia | Severe Weather - Thunderstorms/High Winds | 221 | 66445
2014 | 3 | 03/02/2014 7:00 PM | 03/04/2014 9:00 AM | 38 Hours, 0 Minutes | ERCOT | TRE | ERCOT Region Texas | Public Appeal due to Severe Weather - Cold | N/A | N/A
2014 | 3 | 03/03/2014 1:48 AM | 03/03/2014 1:49 AM | 0 Hours, 1 Minutes | Public Utility District #1 of Chelan County (CHPD) | WECC | Mid-Columbia River Generation, Washington | Fuel Supply Emergency - Hydro | 630 | Unknown
2014 | 3 | 03/03/2014 6:40 AM | 03/03/2014 3:28 PM | 8 Hours, 48 Minutes | Tennessee Valley Authority | SERC | Tennessee | Severe Weather - Winter Storm | Unknown | 65904
2014 | 3 | 03/04/2014 9:06 AM | 03/17/2014 9:06 AM | 312 Hours, 0 Minutes | Wisconsin Public Service Corp | MRO | Weston, Wisconsin | Fuel Supply Emergency - Coal | Unknown | Unknown
2014 | 3 | 03/07/2014 3:30 AM | 03/07/2014 9:00 PM | 17 Hours, 30 Minutes | Duke Energy Carolinas | SERC | Triad, North Carolina | Severe Weather - Winter Storm | 1500 | 370900
2014 | 3 | 03/12/2014 7:35 PM | 03/13/2014 12:00 PM | 16 Hours, 25 Minutes | Duke Energy Carolinas | SERC | North Carolina | Severe Weather - High Winds | 250 | 61377
2014 | 3 | 03/26/2014 1:37 PM | 03/26/2014 2:33 PM | 0 Hours, 56 Minutes | Peak Reliability | WECC | Montana | Electrical System Separation (Islanding) | Unknown | Unknown
2014 | 3 | 03/31/2014 3:41 PM | 03/31/2014 8:08 PM | 4 Hours, 27 Minutes | Puerto Rico Electric Power Authority | N/A | Puerto Rico | System Wide Voltage Reduction | Unknown | Unknown
2014 | 4 | 04/03/2014 12:00 AM | ongoing | ongoing | City of Garland / Texas Municipal Power Agency | TRE | Texas | Fuel Supply Emergency - Coal | Unknown | Unknown
2014 | 4 | 04/03/2014 2:45 PM | 04/09/2014 11:53 AM | 141 Hours, 8 Minutes | We Energies | MRO | Wisconsin | Fuel Supply Emergency - Coal | Unknown | Unknown
2014 | 4 | 04/04/2014 3:30 AM | 04/04/2014 8:15 AM | 4 Hours, 45 Minutes | Entergy Services, Inc. | SERC | Central Arkansas | Severe Weather - Wind | Unknown | 57200
2014 | 4 | 04/08/2014 11:09 AM | 04/08/2014 11:20 AM | 0 Hours, 11 Minutes | Puerto Rico Electric Power Authority | N/A | Puerto Rico | Voltage Reduction | Unknown | Unknown
2014 | 4 | 04/12/2014 6:15 PM | 04/14/2014 9:00 AM | 38 Hours, 45 Minutes | Consumers Energy | RFC | Western and Central Michigan | Severe Weather - Thunderstorms | Unknown | 50000
2014 | 4 | 04/12/2014 8:00 PM | 04/15/2014 7:30 PM | 71 Hours, 30 Minutes | Detroit Edison Company | RFC | Michigan | Severe Weather | Unknown | 164000
2014 | 4 | 04/23/2014 7:45 PM | 04/23/2014 8:37 PM | 0 Hours, 52 Minutes | MISO / Entergy Transmission | SERC | Baton Rouge, Louisiana | Load shedding of 100 Megawatts | 163 | 28000
2014 | 4 | 04/24/2014 3:02 PM | 04/24/2014 5:13 PM | 2 Hours, 11 Minutes | Peak Reliability | WECC | Alberta, Canada | Electrical System Separation (Islanding) | Unknown | Unknown
2014 | 4 | 04/27/2014 9:15 AM | ongoing | ongoing | Peak Reliability | WECC | Alberta, Canada | Electrical System Separation (Islanding) | 9750 | 4000000
2014 | 4 | 04/29/2014 9:37 AM | 05/01/2014 9:00 AM | 47 Hours, 23 Minutes | Tennessee Valley Authority | SERC | Northeastern Mississippi, Northern Alabama | Severe Weather - Thunderstorms | Unknown | 57000
2014 | 4 | 04/29/2014 11:30 PM | 04/29/2014 12:30 PM | -11 Hours, 0 Minutes | Southern Company | SERC | Mississippi, Alabama | Severe Weather - Thunderstorms | 355 | 106648
2014 | 4 | 04/30/2014 3:50 AM | 04/30/2014 2:00 PM | 10 Hours, 10 Minutes | Southern Company | SERC | Alabama, Florida, Georgia | Severe Weather - Thunderstorms | 296 | 89000
2014 | 5 | 05/09/2014 6:00 PM | 05/11/2014 1:00 PM | 43 Hours, 0 Minutes | Vectren Energy Delivery of Indiana | RFC | Indiana | Severe Weather - Heavy Winds | Unknown | 56000
2014 | 5 | 05/14/2014 3:34 PM | ongoing | ongoing | San Diego Gas & Electric Company | WECC | San Diego & Orange Counties, California | Public Appeal to Reduce Electricity Usage - Wild Fires | N/A | N/A
2014 | 5 | 05/15/2014 10:43 AM | ongoing | ongoing | San Diego Gas & Electric Co | WECC | San Diego & Orange Counties, California | Public Appeal to Reduce Electricity Usage - Wild Fires | 3300 | 1400000
2014 | 5 | 05/16/2014 10:43 AM | 05/16/2014 9:00 PM | 10 Hours, 17 Minutes | San Diego Gas & Electric Co | WECC | San Diego & Orange Counties, California | Public Appeal to Reduce Electricity Usage - Wild Fires | 3900 | 1400000
2014 | 5 | 05/26/2014 12:31 PM | 05/26/2014 1:18 PM | 0 Hours, 47 Minutes | Peak Reliability | WECC | British Columbia & Alberta, Canada | Electrical System Separation (Islanding) | Unknown | Unknown
2014 | 6 | 06/03/2014 3:32 PM | 06/03/2014 3:59 PM | 0 Hours, 27 Minutes | Peak Reliability | WECC | Alberta, Canada | Electrical System Islanding | 338 | N/A
2014 | 6 | 06/05/2014 3:00 AM | 06/07/2014 11:45 PM | 68 Hours, 45 Minutes | Memphis Light Gas and Water Division | SERC | Shelby County, Tennessee | Severe Weather - Thunderstorms | 494 | 38500
2014 | 6 | 06/05/2014 1:06 PM | 06/05/2014 1:07 PM | 0 Hours, 1 Minutes | Tennessee Valley Authority | SERC | West Tennessee | Severe Weather - Thunderstorms | Unknown | 56475
2014 | 6 | 06/06/2014 1:00 PM | ongoing | ongoing | Luminant Energy Company, LLC | ERCOT | Texas | Fuel Supply Emergency - Coal | Unknown | Unknown
2014 | 6 | 06/07/2014 11:00 PM | 06/08/2014 5:30 AM | 6 Hours, 30 Minutes | Southern Company | SERC | North and Central , Alabama | Severe Weather - Thunderstorms | 217 | 65000
2014 | 6 | 06/09/2014 11:07 AM | 06/09/2014 11:30 AM | 0 Hours, 23 Minutes | Peak Reliability | WECC | Alberta, Canada | Electrical System Islanding | Unknown | Unknown
2014 | 6 | 06/10/2014 9:50 PM | 06/11/2014 2:30 PM | 16 Hours, 40 Minutes | American Electric Power | RFC | West Virginia | Severe Weather - Thunderstorms | Unknown | 66383
2014 | 6 | 06/15/2014 12:00 AM | 06/15/2014 1:00 AM | 1 Hours, 0 Minutes | Xcel Energy | MRO | Central Minnesota | Severe Weather - Thunderstorms | Unknown | 55951
2014 | 6 | 06/18/2014 5:00 PM | 06/20/2014 3:00 PM | 46 Hours, 0 Minutes | Detroit Edison Co | RFC | Southeast Michigan | Severe Weather - Thunderstorms | Unknown | 138802
2014 | 6 | 06/27/2014 1:21 PM | ongoing | ongoing | We Energies | MRO | Wisconsin | Fuel Supply Emergency - Coal | Unknown | Unknown
2014 | 6 | 06/30/2014 5:55 PM | 07/01/2014 2:53 AM | 8 Hours, 58 Minutes | We Energies | MRO | Southeast Wisconsin | Severe Weather - Thunderstorms | 424 | 120000
2014 | 6 | 06/30/2014 8:00 PM | 07/02/2014 6:30 PM | 46 Hours, 30 Minutes | Exelon Corporation/ComEd | RFC | Illinois | Severe Weather - Thunderstorms | Unknown | 420000
2014 | 6 | 06/30/2014 11:20 PM | 07/01/2014 5:00 PM | 17 Hours, 40 Minutes | Northern Indiana Public Service Company | RFC | North Central Indiana | Severe Weather - Thunderstorms | Unknown | 127000
2014 | 7 | 07/01/2014 3:30 AM | ongoing | ongoing | Consumers Energy Co | RFC | Southwest Michigan | Severe Weather - Thunderstorms | Unknown | 51000
2014 | 7 | 07/01/2014 4:00 AM | 07/03/2014 11:30 PM | 67 Hours, 30 Minutes | Detroit Edison Co | RFC | Southeast Michigan | Severe Weather - Thunderstorms | Unknown | 140000
2014 | 7 | 07/01/2014 5:00 AM | 07/02/2014 2:00 AM | 21 Hours, 0 Minutes | American Electric Power | RFC | Indiana, Michigan | Severe Weather - Thunderstorms | Unknown | 57237
2014 | 7 | 07/02/2014 8:39 AM | 07/28/2014 3:13 PM | 630 Hours, 34 Minutes | We Energies | MRO | Wisconsin | Fuel Supply Emergency - Coal | Unknown | Unknown
2014 | 7 | 07/03/2014 6:00 PM | 07/06/2014 12:00 PM | 66 Hours, 0 Minutes | Exelon Corporation/PECO | RFC | Pennsylvania | Severe Weather - Thunderstorms | Unknown | 298165
2014 | 7 | 07/03/2014 10:55 PM | 07/04/2014 1:50 AM | 2 Hours, 55 Minutes | ISO New England | NPCC | Vermont, New Hampshire, Maine, Rhode Island, Massachusetts, Connecticut | Severe Weather - Thunderstorms | Unknown | 64000
2014 | 7 | 07/08/2014 5:30 PM | 07/10/2014 3:00 PM | 45 Hours, 30 Minutes | PPL Electric Utilities Corp | RFC | Central and Northeastern Pennsylvania | Severe Weather - Thunderstorms | Unknown | 66000
2014 | 7 | 07/08/2014 5:30 PM | 07/12/2014 11:20 PM | 101 Hours, 50 Minutes | FirstEnergy Corp: Potomac Edison | RFC | Maryland, West Virginia | Severe Weather - Thunderstorms | Unknown | 96000
2014 | 7 | 07/08/2014 5:30 PM | 07/12/2014 11:30 PM | 102 Hours, 0 Minutes | FirstEnergy Corp: Mon Power | RFC | West Virginia | Severe Weather - Thunderstorms | Unknown | 71000
2014 | 7 | 07/08/2014 6:00 PM | 07/11/2014 5:53 PM | 71 Hours, 53 Minutes | FirstEnergy Corp: Met-Ed | RFC | Eastern Pennsylvania | Severe Weather - Thunderstorms | Unknown | 69000
2014 | 7 | 07/08/2014 7:21 PM | 07/11/2014 7:00 AM | 59 Hours, 39 Minutes | Niagara Mohawk Power Corporation (dba National Grid) | NPCC | Upstate New York | Severe Weather - Thunderstorms | Unknown | 65000
2014 | 7 | 07/08/2014 8:30 PM | 07/11/2014 11:00 PM | 74 Hours, 30 Minutes | Exelon Corporation/PECO | RFC | Pennsylvania | Severe Weather - Thunderstorms | Unknown | 260000
2014 | 7 | 07/08/2014 9:31 PM | ongoing | ongoing | Baltimore Gas & Electric Company | RFC | Maryland | Severe Weather - Thunderstorms | Unknown | 56600
2014 | 7 | 07/23/2014 7:14 PM | 07/24/2014 12:23 AM | 5 Hours, 9 Minutes | American Electric Power | SERC | Arkansas, Louisiana | Severe Weather - Thunderstorms | Unknown | 57299
2014 | 7 | 07/24/2014 4:29 PM | 07/24/2014 11:32 PM | 7 Hours, 3 Minutes | Southern California Edison | WECC | California | Load shedding of 100 Megawatts | 126 | 26856
2014 | 7 | 07/27/2014 5:00 PM | 07/28/2014 11:00 PM | 30 Hours, 0 Minutes | Detroit Edison Co | RFC | Southeast Michigan | Severe Weather - Thunderstorms | Unknown | 156611
2014 | 7 | 07/27/2014 11:00 PM | 07/28/2014 4:00 AM | 5 Hours, 0 Minutes | California Department of Water Resources | WECC | Central California | Uncontrolled Loss of 300 Megawatts | 480 | 1
2014 | 8 | 08/13/2014 6:08 AM | 08/13/2014 6:34 AM | 0 Hours, 26 Minutes | Peak Reliability | WECC | Alberta, Canada | Electrical System Separation (Islanding) | 370 | Unknown
2014 | 8 | 08/20/2014 1:21 AM | 08/20/2014 1:41 AM | 0 Hours, 20 Minutes | Peak Reliability | WECC | Alberta, Canada | Electrical System Separation (Islanding) | Unknown | Unknown
2014 | 8 | 08/23/2014 4:39 PM | 08/24/2014 1:46 AM | 9 Hours, 7 Minutes | Illinois Municipal Electric Agency | RFC | City of Highland, Illinois | Operational Failure of Electrical System | 31 | 6549
2014 | 8 | 08/24/2014 3:20 AM | 08/25/2014 7:05 AM | 27 Hours, 45 Minutes | PG&E | WECC | North of San Francisco, California | Earthquake | 95 | 70000
2014 | 8 | 08/26/2014 3:30 PM | ongoing | ongoing | Detroit Edison Co | RFC | Southeast Michigan | Severe Weather - Thunderstorms | Unknown | Unknown
2014 | 9 | 09/05/2014 4:30 PM | 09/06/2014 2:00 PM | 21 Hours, 30 Minutes | Exelon Corporation / ComEd | RFC | Illinois | Severe Weather - Thunderstorms | Unknown | 180400
2014 | 9 | 09/05/2014 7:14 PM | 09/06/2014 1:00 PM | 17 Hours, 46 Minutes | Consumers Energy | RFC | Lower Peninsula of Michigan | Severe Weather - Thunderstorms | 50 | 60000
2014 | 9 | 09/05/2014 8:00 PM | ongoing | ongoing | Detroit Edison Co | RFC | Michigan | Severe Weather - Thunderstorms | Unknown | 324000
2014 | 9 | 09/09/2014 8:18 AM | 09/09/2014 11:59 PM | 15 Hours, 41 Minutes | Peak Reliability | WECC | Alberta, Canada | Electrical System Separation (Islanding) | Unknown | Unknown
2014 | 9 | 09/11/2014 4:56 AM | 09/11/2014 5:37 AM | 0 Hours, 41 Minutes | Peak Reliability | WECC | Alberta, Canada | Electrical System Separation (Islanding) | Unknown | Unknown
2014 | 9 | 09/14/2014 9:50 PM | 09/17/2014 3:08 PM | 65 Hours, 18 Minutes | Portland General Electric | WECC | Oregon | Electrical System Separation (Islanding) | 1 | 123
2014 | 9 | 09/19/2014 2:20 PM | 09/23/2014 1:10 PM | 94 Hours, 50 Minutes | Portland General Electric | WECC | Estacada, Oregon | Electrical System Separation (Islanding) | 1 | 123
2014 | 9 | 09/22/2014 11:00 AM | 09/22/2014 11:01 AM | 0 Hours, 1 Minutes | Minnesota Power Inc | MRO | Northeast Minnesota | Fuel Supply Emergency - Coal | 1000 | 140000
2014 | 10 | 10/02/2014 4:00 PM | 10/07/2014 10:00 AM | 114 Hours, 0 Minutes | Oncor Electric Delivery Company LLC | TRE | Texas | Severe Weather - Thunderstorms | Unknown | 500000
2014 | 10 | 10/02/2014 10:15 PM | ongoing | ongoing | Entergy Services, Inc. | SERC | Arkansas | Severe Weather - Thunderstorms | Unknown | 67300
2014 | 10 | 10/06/2014 10:52 AM | 10/07/2014 12:52 AM | 14 Hours, 0 Minutes | CenterPoint Energy | TRE | Houston, Texas | Severe Weather - Thunderstorms | 292 | 129237
2014 | 10 | 10/08/2014 4:47 PM | 10/08/2014 6:29 PM | 1 Hours, 42 Minutes | ERCOT | TRE | Rio Grande Valley Texas | Public Appeal to Reduce Electricity Usage; Load Shed of 100 MW | Unknown | Unknown
2014 | 10 | 10/08/2014 4:49 PM | 10/08/2014 6:23 PM | 1 Hours, 34 Minutes | American Electric Power - Texas | TRE | Rio Grande Valley Texas | Public Appeal to Reduce Electricity Usage; Load Shed of 100 MW | 585 | 120000
2014 | 10 | 10/09/2014 9:27 AM | ongoing | ongoing | American Electric Power | TRE | Rio Grande Valley Texas | Public Appeal to Reduce Electricity Usage | Unknown | 2800
2014 | 10 | 10/13/2014 12:45 PM | 10/13/2014 4:15 PM | 3 Hours, 30 Minutes | Entergy Services, Inc. | SERC | Louisiana | Severe Weather - Thunderstorms | Unknown | 68600
2014 | 10 | 10/14/2014 5:44 AM | 10/14/2014 5:50 PM | 12 Hours, 6 Minutes | Southern Company | SERC | Alabama, Florida, Georgia | Severe Weather - Thunderstorms | 191 | 57475
2014 | 10 | 10/14/2014 6:20 PM | 10/14/2014 6:28 PM | 0 Hours, 8 Minutes | Puerto Rico Electric Power Authority | N/A | Puerto Rico | Voltage Reduction | Unknown | Unknown
2014 | 10 | 10/22/2014 10:46 PM | 10/22/2014 10:47 PM | 0 Hours, 1 Minutes | ISO New England | NPCC | New Hampshire, Maine, Massachusetts, Rhode Island, Connecticut, Vermont | Severe Weather | Unknown | 66650
2014 | 10 | 10/25/2014 4:00 PM | 10/25/2014 10:00 PM | 6 Hours, 0 Minutes | Portland General Electric Co | WECC | Greater Portland and Salem, Oregon | Severe Weather - Wind | 216 | 78000
2014 | 10 | 10/25/2014 6:00 PM | ongoing | ongoing | Puget Sound Energy | WECC | King County, Thurston County and Kitsap County, Washington | Severe Weather - Wind | 154 | 96000
2014 | 11 | 11/02/2014 1:46 PM | ongoing | ongoing | ISO New England | NPCC | Massachusetts, Maine, Vermont, New Hampshire, Rhode Island, Connecticut | Severe Weather - Winter Storm | Unknown | 63719
2014 | 11 | 11/11/2014 6:00 PM | 11/14/2014 3:00 PM | 69 Hours, 0 Minutes | Puget Sound Energy | WECC | Washington | Severe Weather - Wind | 132 | 68000
2014 | 11 | 11/14/2014 9:50 AM | 11/14/2014 1:18 PM | 3 Hours, 28 Minutes | Portland General Electric Co | WECC | Estacada, Oregon | Electrical System Islanding | 1 | 123
2014 | 11 | 11/24/2014 12:00 AM | ongoing | ongoing | Southwestern Public Service Company | SPP | Nebraska, Kansas, Texas, Arkansas, Louisiana, New Mexico | Fuel Supply Emergency - Coal | Unknown | Unknown
2014 | 11 | 11/24/2014 12:00 PM | 11/27/2014 1:00 PM | 73 Hours, 0 Minutes | Detroit Edison Co | RFC | Michigan | Severe Weather - Wind | Unknown | 186154
2014 | 11 | 11/26/2014 5:50 PM | 11/28/2014 7:00 AM | 37 Hours, 10 Minutes | ISO New England | NPCC | New Hampshire, Massachusetts, Maine, Rhode Island, Connecticut, Vermont | Severe Weather - Winter Storm | Unknown | 79530
2014 | 12 | 12/11/2014 6:40 AM | ongoing | ongoing | Pacific Gas & Electric Co | WECC | Northern California | Severe Weather- High Winds | Unknown | Unknown
2014 | 12 | 12/11/2014 7:21 AM | 12/11/2014 9:53 PM | 14 Hours, 32 Minutes | Pacific Gas & Electric Co | WECC | San Francisco, California | Distribution Interruption - Unknown Cause | 225 | 75000
2014 | 12 | 12/11/2014 4:05 PM | 12/11/2014 9:00 PM | 4 Hours, 55 Minutes | Portland General Electric Co | WECC | Portland, Oregon | Severe Weather- High Winds | 250 | 85470
2014 | 12 | 12/11/2014 5:00 PM | 12/12/2014 10:00 AM | 17 Hours, 0 Minutes | Puget Sound Energy | WECC | Kitsap, Thurston, Whatcom counties Washington | Severe Weather- High Winds | 116 | 264000
2014 | 12 | 12/11/2014 11:15 PM | ongoing | ongoing | Pacific Gas & Electric Co | WECC | Northern California | Severe Weather- High Winds | Unknown | Unknown
2014 | 12 | 12/30/2014 1:08 PM | 01/01/2015 4:50 PM | 51 Hours, 42 Minutes | Pacific Gas & Electric Co | WECC | Northern California | Severe Weather- High Winds | 127 | 84500
Note: Customers affected are estimates and are preliminary. Source: Form OE-417, 'Electric Emergency Incident and Disturbance Report.'